Bargraphs Meter

General Description

The unit can take 1-3 input and display with both bargraphs and digital display. Also has relay output for feedback control and alarm.

# Block Diagram

Specificaions:

Input signal 0-20mA, 4-20mA, 0-5V, 1-5V, and resistive input.

Relay output: 1A220V

Weight: less than 1kg

Power supply 85-250VAC

Environment  tempture: 0-60℃, humidity < 80RH%